## Sheet1
CALIBRATION CERTIFICATE NO: PPE078SL1121/001
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Quality Control
MAKE |  |  | Jinxin |  | LOCATION |  | Instrument Lab
[5 empty] | TAG NO |  | SL/GSE/001
RANGE |  |  | As per Limit |  | CAL. DATE |  | 2021-11-08
LEAST COUNT |  |  | N/A |  | DUE ON |  | 2022-11-07
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.06 |  |  | 0.05
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/002
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Store
MAKE |  |  | Jinxin |  | LOCATION |  | Store
[5 empty] | TAG NO |  | SL/GSE/002
RANGE |  |  | As per Limit |  | CAL. DATE |  | 2021-11-08
LEAST COUNT |  |  | N/A |  | DUE ON |  | 2022-11-07
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.07 |  |  | 0.06
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/003
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Store
MAKE |  |  | Jinxin |  | LOCATION |  | Store
[5 empty] | TAG NO |  | SL/GSE/003
RANGE |  |  | As per Limit |  | CAL. DATE |  | 2021-11-08
LEAST COUNT |  |  | N/A |  | DUE ON |  | 2022-11-07
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.05 |  |  | 0.03
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/004
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Store
MAKE |  |  | Jinxin |  | LOCATION |  | RM Dispensing Injection
[5 empty] | TAG NO |  | SL/FSE/001
RANGE |  |  | As per Limit |  | CAL. DATE |  | 2021-11-08
LEAST COUNT |  |  | N/A |  | DUE ON |  | 2022-11-07
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.04 |  |  | 0.03
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/001
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Bubble Meter |  | DEPARTMENT |  | Store
MAKE |  |  | Freemane |  | LOCATION |  | Dissolution Test Apparatus Kit
RANGE |  |  | As per Limit |  |  |  | (Instrument lab)
LEAST COUNT |  |  | N/A |  | TAG NO |  | DDI/QCE/001
[5 empty] | CAL. DATE |  | 2021-11-02
[5 empty] | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.04 |  |  | 0.03
REMARK: THE BUBBLE METER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/005
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Tablet
MAKE |  |  | N/A |  | LOCATION |  | Packing
RANGE |  |  | As per Limit
LEAST COUNT |  |  | N/A |  | TAG NO |  | SL/GPE/001
[5 empty] | CAL. DATE |  | 2021-11-12
[5 empty] | DUE ON |  | 2022-11-11
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.03 |  |  | 0.02
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/007
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Tablet
MAKE |  |  | N/A |  | LOCATION |  | Production
RANGE |  |  | As per Limit
LEAST COUNT |  |  | N/A |  | TAG NO |  | SL/GPE/002
[5 empty] | CAL. DATE |  | 2021-11-12
[5 empty] | DUE ON |  | 2022-11-11
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.01 |  |  | 0.02
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/006
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Spirit Level |  | DEPARTMENT |  | Liquid
MAKE |  |  | N/A |  | LOCATION |  | Liquid
RANGE |  |  | As per Limit
LEAST COUNT |  |  | N/A |  | TAG NO |  | SL/FLE/001
[5 empty] | CAL. DATE |  | 2021-11-11
[5 empty] | DUE ON |  | 2022-11-10
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | NOMINAL VALUE (DUC) (mm) |  |  | OBSERVED VALUE (MASTER) (mm/M)
|  |  |  | +VE DIRECTION |  |  | -VE DIRECTION
1 | 300 |  |  | 0.02 |  |  | 0.01
REMARK: THE SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/007
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Digital Spirit Level |  | DEPARTMENT |  | Quality Control
MAKE |  |  | Insize |  | LOCATION |  | Instrument Lab
RANGE |  |  | 0-360˚
LEAST COUNT |  |  | N/A |  | TAG NO |  | DBP-01
[5 empty] | CAL. DATE |  | 2021-11-02
[5 empty] | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | DUC CONDITION |  |  | OBSERVED VALUE (MASTER) (°)
±'DEVIATION °
1 | At 0 ° |  |  | 0.01 |  |  |  | Print
REMARK: THE DIGITAL SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/008
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Digital Spirit Level |  | DEPARTMENT |  | Quality Control
MAKE |  |  | Insize |  | LOCATION |  | Instrument Lab
RANGE |  |  | 0-360˚
LEAST COUNT |  |  | N/A |  | TAG NO |  | DBP-01
[5 empty] | CAL. DATE |  | 2021-11-02
[5 empty] | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | DUC CONDITION |  |  | OBSERVED VALUE (MASTER) (°)
±'DEVIATION °
1 | At 0 ° |  |  | 0
REMARK: THE DIGITAL SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078SL1121/009
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  |  | Bubble Meter |  | DEPARTMENT |  | Quality Control
MAKE |  |  | Freemane |  | LOCATION |  | Instrument Lab
RANGE |  |  | 0˚ , 45˚, 90˚
LEAST COUNT |  |  | N/A |  | TAG NO |  | DDI/QCE/001
[5 empty] | CAL. DATE |  | 2021-11-02
[5 empty] | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/CAL/SL/01-00
OBSERVATION TABLE
Sr. No | DUC CONDITION |  |  | OBSERVED VALUE (MASTER) (°)
±'DEVIATION °
1 | Bubble At 0 ° |  |  | 0
2 | Bubble At 45 ° |  |  | 0
3 | Bubble At 90 ° |  |  | 0
REMARK: THE DIGITAL SPIRIT LEVEL IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Electronic Level |  |  | REPORT NO |  | TI/I/EL/006/20
SERIAL NO. |  | I0068 |  |  | DUE DATE |  | 2021-12-09
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.