## Sheet1
CALIBRATION CERTIFICATE NO:PPE078TCHM1121/001
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui,
Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  | Tachometer |  |  | DEPARTMENT |  | Quality Control
MAKE |  | Lutron |  |  | CAL. RANGE |  | 0 - 500 RPM
RANGE |  | 0-999.9 RPM |  |  | LOCATION |  | Instrument Lab
ACCURACY |  | ± 2% of Full Scale |  |  | TAG NO |  | ELTC-030
LEAST COUNT |  | 0.1 RPM |  |  | CAL. DATE |  | 2021-11-02
UNIT OF MEASUREMENT |  |  | RPM |  | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/VEL/TCHM/01-00
OBSERVATION TABLE
Sr. No | STANDARD READING ON UNIT UNDER CALIBRATION |  |  | OBSERVED READING ON MASTER INSTRUMENT |  |  | ERROR (±)
1 | 25 |  |  | 25.1 |  |  | 0.1
2 | 100 |  |  | 100.1 |  |  | 0.1
3 | 500 |  |  | 500.1 |  |  | 0.1
REMARK: THE TACHOMETER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | DIGITAL TACHOMETER |  |  | ACCURACY |  | ± (0.05% + 1 digit)
MAKE |  | Mextech |  |  | CERTIFICATE NO. |  | L-1502530085
INST ID. NO |  | PPE/RPM/01 |  |  | DUE DATE |  | 2022-01-07
RANGE |  | 0 to 99,999 rpm
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO:PPE078TCHM1121/002
CLIENT NAME: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui,
Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  | Tachometer |  |  | DEPARTMENT |  | Quality Control
MAKE |  | Lutron |  |  | CAL. RANGE |  | 0 - 500 RPM
RANGE |  | 0-999.9 RPM |  |  | LOCATION |  | Instrument Lab
ACCURACY |  | ± 2% of Full Scale |  |  | TAG NO |  | S301306
LEAST COUNT |  | 0.1 |  |  | CAL. DATE |  | 2021-11-02
UNIT OF MEASUREMENT |  |  | RPM |  | DUE ON |  | 2022-11-01
CALIBRATION PROCEDURE NUMBER |  |  |  |  | PPE/SOP/VEL/TCHM/01-00
OBSERVATION TABLE
Sr. No | STANDARD READING ON UNIT UNDER CALIBRATION |  |  | OBSERVED READING ON MASTER INSTRUMENT |  |  | ERROR (±)
1 | 25 |  |  | 24.9 |  |  | -0.1
2 | 100 |  |  | 99.8 |  |  | -0.2
3 | 500 |  |  | 500.1 |  |  | 0.1
REMARK: THE TACHOMETER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | DIGITAL TACHOMETER |  |  | ACCURACY |  | ± (0.05% + 1 digit)
MAKE |  | Mextech |  |  | CERTIFICATE NO. |  | L-1502530085
INST ID. NO |  | PPE/RPM/01 |  |  | DUE DATE |  | 2022-01-07
RANGE |  | 0 to 99,999 rpm
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.