## Sheet1
CALIBRATION CERTIFICATE NO: PPE078VCD0721/01
Client Name: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  | Digital Micrometer |  |  |  | DEPARTMENT |  | Quality Control
MAKE |  | Mitotoyo
RANGE |  | 0-25 mm |  |  |  | TAG ID |  | DMM/QCE/003
LEAST COUNT |  | 0.001 mm |  |  |  | CAL. DATE |  | 2021-07-09
UNIT OF MEASUREMENT |  | mm |  |  |  | DUE ON |  | 2022-07-08
CALIBRATION PROCEDURE NUMBER | [5 empty] | PPE/SOP/MET/VC/01
OBSERVATION TABLE
Sr. No | STANDARD SLIP GAUGE IN “mm” |  |  | READING ON UNIT UNDER CALIBRATION IN “mm” |  |  | ACCEPTANCE LIMITS ±0.02 mm
1 | 0 |  |  | 0 |  |  | 0
2 | 10 |  |  | 9.99 |  |  | -0.01
3 | 15 |  |  | 14.99 |  |  | -0.01
4 | 20 |  |  | 19.99 |  |  | -0.01
5 | 25 |  |  | 24.99 |  |  | -0.01
REMARK: THE DIGITAL MICROMETER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Tungsten Carbide Slip Gauge Set |  |  |  | ACCURACY |  | 1% of FSD
MAKE |  | M & W |  |  |  | REPORT NO |  | 21 MAC-05-02-041
INST ID/Sr. NO |  | 130142 |  |  |  | DUE DATE |  | 2022-01-05
RANGE |  | 0.5 to 100 mm (112 Pieces)
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078VCD0721/02
Client Name: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  | Vernier Caliper |  |  |  | DEPARTMENT |  | Quality Control
MAKE |  | Mitotoyo
RANGE |  | 0-300 mm |  |  |  | TAG ID |  | DMM/QCE/005
LEAST COUNT |  | 0.01 mm |  |  |  | CAL. DATE |  | 2021-07-09
UNIT OF MEASUREMENT |  | mm |  |  |  | DUE ON |  | 2022-07-08
CALIBRATION PROCEDURE NUMBER | [5 empty] | PPE/SOP/MET/VC/01
OBSERVATION TABLE
Sr. No | STANDARD SLIP GAUGE IN “mm” |  |  | READING ON UNIT UNDER CALIBRATION IN “mm” |  |  | ACCEPTANCE LIMITS ±0.02 mm
1 | 0 |  |  | 0 |  |  | 0
2 | 50 |  |  | 49.99 |  |  | -0.01
3 | 100 |  |  | 99.99 |  |  | -0.01
4 | 200 |  |  | 199.99 |  |  | -0.01
5 | 300 |  |  | 299.98 |  |  | -0.02
REMARK: THE VERNIER CALIPER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Tungsten Carbide Slip Gauge Set |  |  |  | ACCURACY |  | 1% of FSD
MAKE |  | M & W |  |  |  | REPORT NO |  | 21 MAC-05-02-041
INST ID/Sr. NO |  | 130142 |  |  |  | DUE DATE |  | 2022-01-05
RANGE |  | 0.5 to 100 mm (112 Pieces)
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.
CALIBRATION CERTIFICATE NO: PPE078VCD0721/03
Client Name: |  |  | Rusan Pharma Limited
ADDRESS: |  |  | Khasra No.: 122 MI, Central Hope Town, Behind Pharma City, Selaqui, Dehradun-248197, INDIA
ENVIRONMENTAL CONDITION: |  |  | AMBIENT TEMPERATURE & HUMIDITY
INSTRUMENT DETAILS
INSTRUMENT |  | Vernier Caliper |  |  |  | DEPARTMENT |  | Quality Control
MAKE |  | Mitotoyo
RANGE |  | 0-300 mm |  |  |  | TAG ID |  | DMM/QCE/004
LEAST COUNT |  | 0.01 mm |  |  |  | CAL. DATE |  | 2021-07-09 | print
UNIT OF MEASUREMENT |  | mm |  |  |  | DUE ON |  | 2022-07-08
CALIBRATION PROCEDURE NUMBER | [5 empty] | PPE/SOP/MET/VC/01
OBSERVATION TABLE
Sr. No | STANDARD SLIP GAUGE IN “mm” |  |  | READING ON UNIT UNDER CALIBRATION IN “mm” |  |  | ACCEPTANCE LIMITS ±0.02 mm
1 | 5 |  |  | 5 |  |  | 0
2 | 50 |  |  | 50 |  |  | 0
3 | 100 |  |  | 100 |  |  | 0
4 | 150 |  |  | 149.99 |  |  | -0.01
5 | 300 |  |  | 299.99 |  |  | -0.01
REMARK: THE VERNIER CALIPER IS CALIBRATED SUCCESSFULLY WITHIN THE SPECIFIED LIMITS
REFERENCE STANDARDS USED
INSTRUMENT |  | Tungsten Carbide Slip Gauge Set |  |  |  | ACCURACY |  | 1% of FSD
MAKE |  | M & W |  |  |  | REPORT NO |  | 21 MAC-05-02-041
INST ID/Sr. NO |  | 130142 |  |  |  | DUE DATE |  | 2022-01-05
RANGE |  | 0.5 to 100 mm (112 Pieces)
CALIBRATED BY |  |  | CHECKED & APPROVED BY |  |  |  | REVIEWED BY
NOTE
This report refers only to the particular item calibrated at site/laboratory.
Pin Point Engineers is not liable for any change in calibration data & performance specifications on account of malfunctioning the standards/instrument/equipment covered by this report due to damage caused to it after issuance of this report.
The Standard(s) used for calibration is/are calibrated by using reference standards traceable to National/International standards.
The calibration results reported are valid at the time of and under the conditions of measurement.
This report may not be reproduced, except in full, without the prior permission of "Pin Point Engineers".
Any correction in this certificate invalidated the certificate.